- Meeting called to order by ____________ at ________PM.

- Authority Attendance:

| Joseph Civitella, Chairman |  |
| --- | --- |
| Rodney Reeser – Vice Chairman |  |
| Mathew Behler – Treasurer |  |
| Darren Thomas– Secretary |  |
| Chad Everett - Member |  |
| Tara Takerer - Clerk |  |
| Neil Ettinger – Solicitor |  |
| Craig LaBarre – Water Plant Operator |  |
| Mark Bahnick - Engineer |  |

- Visitors:

Greg Sander-electric potential approval /denial

- Approval for:

| Minutes of October 19, 2021 Authority Meeting | Mo 2nd MC |
| --- | --- |
| Water Treasurer’s Report dated November 16, 2021 and payment of bills listed. | Mo 2nd MC |

- Solicitor –

1.     422 Ore Street – tap in fee

- Engineer –

1.

- Other Business-

- Review 2022 Budget

2.     Water was shut off to 211 Fireline Road on 10/24 for delinquent rents; restored 11/3 & 649 Lime Street on 10/24 ;

restored  11/4

3.      PPL planning 2022 maintenance- herbicide approval needed

- Water Operations:

1.	Town wide hydrants were flushed 10/21 & 10/21

2.    Reservoirs were cleaned by Boro Crew on 10/28 & 10/29

3.	Crew layed drain pipe, built swale to divert water & secured fence at Stand Pipe off of Oak St

4. 	Winterize Tri-Valley; all haulers are finished for season

5.	Gate at Tri-valley has been left open; Haulers were notified to lock when they leave each time as treaspassor was seen on cameras.

6.	Water Operator & Banko Excavating installed valves at Reservoir by old pump house

7.    Act Pack update (Scada reports only showing Well #1 usage)

8.	655 White Street –water connections

- Correspondence:

| Subject: | Date: | Summary: |
| --- | --- | --- |
| Right To Know Request | 10/21/2021 | Request for all home & business occupancy permits & any zoning hearing. Completed request. |
| Electric Invoices | 10/22/2021 | Invoiced Greg Sander $60 for electric Smithy’s property – no payment received as of today |
| 2022 Budget |  | Last month to review & make any changes to such; adopting December’s meeting. |
| Spill Prevention Equipment Failure | 10/28/2021 | DEP Incident Report regarding 709 Lincoln Avenue – gas pumps were leaking. Board copied on letter. |
| Delinquents | 11/15/2021 | Delinquent customers over the last 2 months (41 customers as of 10/22 penalty sheet 39 customers delinquent on 9/22) |
| Lien/Sheriff Sale |  | 309-311 Ore Street going to short sale, $5,131 grand total owed for all utilities. Paperwork will be filed prior to sale |

- Adjournment:   Time ______PM

Pending List:

*   Hydrants replacement

*   Valve on Green & Mill St must be replaced; Craig advised Banko Excav.

*   Water Inventory needed at Tri-Valley.

*   New curb stop valve needed at 80 Towhee Drive

*   2” conduit pipe is cracked. Repair as needed at Chlorine Building; due to water   coming in Electrical box.(2/2018)

*   A work order was then generated to have Crew dig up water line to turn off and install a new valve if needed, at 200 Craig Street – House Fire

*    Locks for fire hydrants in Meadowcrest only, Craig looking into

*   Work Order created for Crew to maintain the water easement area behind homes off of Craig Street – Stone Ridge Manor Side  - keep grass cut, maintained each year

*   Cut weeds & Grass around all hydrants that homeowners do not volunteer to do – crew has work order

*    Scada Upgrades – status of